## Slide 1
SNIP
for assessment of inspiratory muscle strength
Hans-Jürgen Smith, Berlin, Germany
Zlín 20th – 21st May 2022
X. Conference
of functional examinations of the lungs

## Slide 2: Sniff Nasal Inspiratory Pressure SNIP
Maximal sniff nasal inspiratory pressure (SNIP) is a sensitive test to early disclose respiratory muscle decline.

## Slide 3: Sniff Nasal Inspiratory Pressure Method
Placement
The Sniff Nasal Inspiratory Pressure (SNIP) is an alternative measurement to the classic volitional static test of inspiratory muscle strength, which is Maximum Inspiratory Pressure (MIP / PImax).
A sniff manoeuver is more natural and easier to perform than static efforts for most subjects.
i
  Careful quality check to drastically reduce over-diagnosis of muscle weakness!
!

## Slide 4: Sniff Nasal Inspiratory Pressure Physiology and limitations
  During a vigorous sniff, the nasal valve of the patent’s nostril collapses and the pressure beyond the collapsed segment closely reflects oesophageal pressure and therefore inspiratory muscle strength.
Limitations that lead to under-diagnosis
  Severe nasal congestion
    Hinders pressure transmission
    Leads to falsely low values
  Severe or acute airflow limitation
    Underestimation of SNIP pressure in acute asthma (15%) or COPD (20%)
!

## Slide 5: Indications for SNIP ATS/ERS Statement to the diagnosis of the breathing pump
Fatigue or failure of inspiratory muscles stands for:
  A potentially threatening condition
  Imbalance between muscle load and capacity
  In severe case – hypercapnic respiratory failure
  Impaired cough and airway clearance
  Risk for lung atelectasis and infection
  Acute respiratory failure in neuromuscular disorders
  Restrictive pattern in lung volumes or spirometry
  Association to long-term mortality in cardiovascular disease or COPD
  See indications of MIP (PImax)
ATS/ERS Statement on Respiratory Muscle Testing. Am J Respir Crit Care Med. Vol 166; 2002: 518-624
Breathing pump
  Breathing centre
  Conducting nerves
  Thoracic wall and inspiratory muscles
  Bony thorax

## Slide 6: Sniff Nasal Inspiratory Pressure Background and methodology
SNIP measurement - background
  Non-invasive test
  No need of a mouthpiece
  Natural and easy manoeuver
  During sniff
    Strong activation of diaphragm and scalene muscles
    Reliable assessment of diaphragm strength
  Often used as alternative to the MIP (PImax) measurement
Methodology
Measurement of peak nasal pressure at one occluded nostril during a short maximal sniff performed from relaxed end-inspiration (FRC) through the contralateral nostril.
The mouth is closed.
  SNIP is an accurate and non-invasive approximation of the oesophageal pressure swing during sniff manoeuvres.
i

## Slide 7: Clinical application Preparations and test procedure / instructions
Preparations
Patient in sitting position.
One nostril occluded with a nasal plug connected to the
pressure transducer via silicon tube.
Contralateral nostril is open, mouth closed.
Test procedure
After normal tidal breathing the subject performs a sharp and maximal sniff from end-expiratory level (FRC).
Target parameter: SNIPpeak
After 5-7 trials a plateau in SNIPpeak values should be visible.
Up to 15 to 30 s pause between trials.
Pressure [kPa]
16
12
8
4
SNIPpeak
  SNIPavg and SNIPsus not recommended.
!
SNIP target parameter | 
SNIPpeak | Sniff nasal inspiratory peak pressure

## Slide 8: Reference values Adults and children
Reference values
Children: Stefanutti (6-17) Adults: Uldry (20-80)
  SNIP is similar in adults and children
  Nearly age independent
D.Stefanutti et al. Sniff Nasal Inspiratory Pressure. Am J Respir Crit Care Med 1999; 159: 107-111
C.Uldry et al. Maximal values of sniff nasal inspiratory pressure in healthy subjects. Thorax 1995; 50: 371-375
  SNIP in healthy subjects is often higher than MIP.
  Limits of agreement between SNIP and MIP.
      SNIP and MIP are NOT interchangeable.
      Complementary information.
!

## Slide 9: Quality check & clinical interpretation Parameter SNIPpeak
Quality check
  Minimal 3 trials.
  Plateau of SNIPpeak values.
  SNIPpeak CV% < 10%.
Evaluation of dysfunction
  Abnormal SNIPpeak < LLN
  Z-score classification
Lower Limit of Normal (LLN)
Mean Predicted

## Slide 10: Comparison of MIP and SNIP Learning effects and reproducibility
Terzi N, et al. Mouth and Nasal Inspiratory Pressure: Learning Effect and Reproducibility in Healthy Adults. Respiration 210; 80:379-386
71 study subjects performed MIP and SNIP during
2 sessions one week apart.
Learning effect
p=0.0008 in MIP
1st week
2nd week
4.5 + 1.7 trials
to max. value
3.4 + 1.9 trials
to max. value
MIP
MIP
SNIP
SNIP
7.0 + 3.7 trials
to max. value
7.4 + 3.7 trials
to max. value
Without week effect
p=0.54 in SNIP
Trial effect
Trial effect NS V
Trial effect
Trial effect
* P < 0.05

## Slide 11: Conclusion
The classic “MIP” is difficult to perform for some subjects.
Sniff testing “SNIP” is based on a natural and easy manoeuvre and therefore more suited for most subjects.
SNIP target parameter | 
SNIPpeak | Sniff nasal inspiratory peak pressure
  Recommendation to perform multiple tests of respiratory muscle function (SNIP + MIP) in order to increase diagnostic precision.
!